### Description :

The ECO-45 is a high efficiency pellet stove. This model is EPA certified and is approved for installation in mobile homes. Its low clearances to combustible materials make it a safe bet in the Medium pellet stoves category.

### Features :

- Model # : DP00045

- High-efficiency stove EPA approved

- Recommended Heating Area (sq. ft.) : 500 - 2,000

- Electronic igniter

- Thermostatic or manual mode

- Safe and removable handle

- Automatic or manual adjustment of combustion air supply

- Mobile Home Approved

- Color : Metallic black

- Model : Pedestal

- Easy-to-access ash drawer

- Optimal efficiency : 78 %

- Emissions (grams / hour) : 1.8 g/h

- Burn Rate : 1.3 - 5.5 lb/h

- Tested or/and listed as per applicable standards by : Intertek